## Assumptions
Indonesia ¦ 1MW Heat-First Geothermal Enterprise
PRODUCT AND SERVICE
Product | Geothermal heat services + electricity |  | Heat-first model: primary revenue from coffee drying, cold storage and agro-processing using direct geothermal heat (based on Kamojang GCP model). Secondary revenue from 1 MW binary electricity generation for local community and PLN.
Binary generator size | 1 | MW | Small modular binary (ORC) unit. Sized to match local demand. Uses lower-enthalpy resources
Number of units | 1 | units | Phase 1 deployment. Can add units if heat demand and resource confirm.
Total installed capacity | 1 | MW | Module size x number of units.
Capacity factor | 85% |  | Based on geothermal benchmarks (80-90% typical, IEA/IRENA). 85% is global average.
Annual generation (GWh) | 7.446 | GWh | Total capacity x CF x 8,760 hrs / 1,000.
Households served | 500 | households | Smaller service area matching heat-first approach. Located near geothermal resource in coffee-growing highland area (e.g. Pangalengan or Kamojang, West Java). Possibility of expanding as scale increases.
Household consumption | 1300 | kWh/yr | Approximate annual electricity use per household; based on Indonesia per-capita consumption (around 300/400) converted to household level.
Community demand (GWh) | 0.65 | GWh | Households x consumption / 1,000,000.
CAPEX
Exploration & confirmation | 500000 | USD | Lower cost: targeting known surface manifestations and hot springs in West Java (130+ documented). Less risky than deep exploration. West Java has 62.2 MWth documented direct-use potential.
Drilling (per MW) | 750000 | USD/MW | Shallower wells targeting medium-enthalpy resources (80-150C). Can use existing non-productive wells near known fields (Wayang Windu, Kamojang). Lower than $1.5M+/MW for deep production wells.
Binary plant EPC (per MW) | 2000000 | USD/MW | Small-scale binary (ORC) plant. Based on Castlerock Consulting estimates adapted for smaller scale.
Heat infrastructure | 1000000 | USD | Geothermal Dry House for coffee drying (Kamojang GCP model), absorption chiller for cold storage, heat exchangers, piping. This is the core of the heat-first enterprise.
Local grid connection | 300000 | USD | Smaller connection — serving local community, not long-distance PLN transmission.
Environmental & social impact | 200000 | USD | Required for permitting and financing; standard. Lower for smaller scale.
Total CapEx | 4750000 | USD | ~80% lower CapEx than 5 MW electricity-first model ($24.5M).
OPERATING COSTS (OPEX)
Fixed O&M (per MW/yr) | 100000 | USD/MW/yr | IRENA benchmark ($80k-120k/MW/yr).
Insurance | 50000 | USD/yr | Scaled for smaller plant.
Land lease & community payments | 50000 | USD/yr | Compensation to local stakeholders; social license.
Management & admin | 100000 | USD/yr | Staffing for heat facility + plant management. Could be local hires. Not 100% sure. Might be lower?
Heat facility operations | 75000 | USD/yr | Running costs for drying facility, cold storage, absorption chiller. New line for heat-first model.
Variable OpEx | 25000 | USD/yr | Buffer
Total OpEx | 400000 | USD/yr
FINANCING & COST OF CAPITAL
Debt share | 70% |  | Typical project finance structure.
Equity share | 30% |  | Developer/investor contribution.
Senior debt interest rate | 7% |  | Concessional finance benchmarks (ADB, World Bank).
Loan length | 15 | years | Seems standard for geothermal.
Target IRR | 15% |  | Expected return for private investors.
WACC | 8% |  | Blended concessional + commercial capital.
HEAT SERVICES REVENUE
Coffee drying revenue | 75000 | USD/yr | Based on Kamojang GCP model (Pertamina). GCP processes 20+ tons/season with 80+ farmer partners. Target: 100-150 tons/yr. Geothermal Dry House cuts drying time 3x (full wash: 7-10 days to 2-4 days). Higher quality = premium pricing. ~$0.50/kg fee. Pangalengan produced 6,499 tons coffee in 2014
Cold storage revenue | 50000 | USD/yr | Absorption chiller powered by geothermal heat. Reduces post-harvest losses from 30-40% to <10% (FAO). ~50-ton capacity. Farmers can sell when prices are better, not at harvest glut. Strong social impact.
Agro-processing & other | 50000 | USD/yr | Tea drying (Wayang Windu precedent), cocoa, spice drying, rice drying. Also egg-hatching incubators, mushroom cultivation sterilization (already at Kamojang).
Total heat services revenue | 175000 | USD/yr
ELECTRICITY REVENUE
PLN tariff | 0.097 | USD/kWh | PR 112/2022 ceiling for <10 MW: 9.76 cents/kWh x location factor. F=1.00 for Java (conservative). Draft tariffs propose $0.145 for 1-10 MW plants.
Community tariff | 0.06 | USD/kWh | Affordability focus. HH currently spend ~$325/yr on diesel ($0.25/kWh). At $0.06: ~$78/yr — 76% savings. 500 HH: $162,500 diesel to ~$39,000.
% generation sold to PLN | 91.27%
% generation sold to community | 8.73%
Blended electricity tariff | 0.09377 | USD/kWh
PLN revenue (Year 1) | 659212
Community revenue (Year 1) | 39000
Total electricity revenue (Yr 1) | 698212
Total revenue Yr 1 (heat+elec) | 873212 | USD/yr
COST & AFFORDABILITY
Discount rate | 8%
Plant life | 30 | years | MEMR Reg 5/2025 sets PPA max 30 years for geothermal. IRENA confirms 30+ yr lifespans.
SUBSIDIES & INCENTIVES
Exploration grant | 500000 | USD | De-risking for known sites. Lower than 5MW model — exploration risk is lower targeting surface manifestations.
Concessional loan | 2000000 | USD | ADB / World Bank / Climate Fund. Scaled for smaller project.
Carbon price | 10 | USD/tCO2 | IDX Carbon ~$4 domestic. International buyers (Verra/Gold Standard) could pay $15-20. At $15: carbon rev +50%. At $20: doubles.
Emission factor displaced | 0.6 | tCO2/MWh
Annual carbon revenue | 44676 | USD/yr
Interest rate buy-down | 2% |  | Not 100% sure about this.
Total grant/subsidy (one-time) | 2500000
GROWTH PLAN
Annual tariff escalation | 2% |  | Inflation and increasing energy demand.
Annual generation degradation | 0.5% |  | Estimate of declining output over time.
Annual OpEx escalation | 2% |  | Cost inflation assumption.
Annual heat revenue growth | 3% |  | Heat services grow as more farmers adopt, new crops added. 3% conservative.

## Financing Plan
Financing Plan
Financing Item | Amount (USD) | Notes
CAPITAL STACK
Total CapEx | 4750000 | Total project capital requirement before grant reduction
Less: Exploration grant | -500000
Net CapEx to finance | 4250000
Debt (70%) | 2975000 | Assumes standard project finance debt share
Concessional loan | 2000000 | Lower interest rate portion from development finance institutions
Commercial debt | 975000
Equity (30%) | 1275000 | Developer/investor equity contribution
DEBT SERVICE
Blended interest rate | 5.655%
Loan term | 15
Annual debt payment | 299456.006 | Annual debt service using simple PMT formula
YEAR 1 RETURN
Year 1 Total Revenue | 917888 | Heat + electricity + carbon.
Year 1 OpEx | 400000
Year 1 EBITDA | 517888
Year 1 Net Income | 218431.994
Cash-on-Cash Return | 17.13%

## Break-Even
Break-Even Analysis
Metric | Value | Unit | Notes
KEY METRICS
Annual OpEx | 400000 | USD/yr |  | NOTES
Total CapEx | 4750000 | USD |  | Heat-first = lower CapEx, stronger social impact per dollar invested.
Net CapEx (after grant) | 4250000 | USD |  | Coffee drying (Kamojang GCP) already proven in West Java by Pertamina.
Year 1 Revenue (incl carbon) | 917888 | USD |  | Cold storage reduces post-harvest losses from 30-40% to <10% (FAO).
Year 1 EBITDA | 517888 | USD | Year 1 net income before financing | Electricity is a side benefit from the same geothermal resource.
Simple payback (net CapEx) | 8.2064 | Years | Net CapEx / Year 1 EBITDA (simplified, no escalation)
Payback on equity | 5.8371 | Years | Equity invested / Year 1 net income after debt
Equity breakeven year | 6 | Year | First year cumulative equity cash flow turns positive
VS 5 MW ELECTRICITY-FIRST MODEL
5 MW model CapEx | 24500000
This model CapEx | 4750000
CapEx reduction | 80.61%

## Pro Forma P&L
Pro Forma — Heat-First 1MW (30-Year)
Field | Unit | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Year 9 | Year 10 | Year 11 | Year 12 | Year 13 | Year 14 | Year 15 | Year 16 | Year 17 | Year 18 | Year 19 | Year 20 | Year 21 | Year 22 | Year 23 | Year 24 | Year 25 | Year 26 | Year 27 | Year 28 | Year 29 | Year 30
REVENUE
Generation (GWh) | GWh | 7.446 | 7.4088 | 7.3717 | 7.3349 | 7.2982 | 7.2617 | 7.2254 | 7.1893 | 7.1533 | 7.1176 | 7.082 | 7.0466 | 7.0113 | 6.9763 | 6.9414 | 6.9067 | 6.8721 | 6.8378 | 6.8036 | 6.7696 | 6.7357 | 6.7021 | 6.6685 | 6.6352 | 6.602 | 6.569 | 6.5362 | 6.5035 | 6.471 | 6.4386
Electricity Revenue | USD | 698212 | 708615.3588 | 719173.7276 | 729889.4162 | 740764.7685 | 751802.1635 | 763004.0158 | 774372.7756 | 785910.93 | 797621.0028 | 809505.5558 | 821567.1885 | 833808.5397 | 846232.2869 | 858841.148 | 871637.8811 | 884625.2855 | 897806.2023 | 911183.5147 | 924760.149 | 938539.0753 | 952523.3075 | 966715.9048 | 981119.9717 | 995738.6593 | 1010575.1653 | 1025632.7353 | 1040914.6631 | 1056424.2915 | 1072165.0135
Heat Services Revenue | USD | 175000 | 180250 | 185657.5 | 191227.225 | 196964.0418 | 202872.963 | 208959.1519 | 215227.9264 | 221684.7642 | 228335.3072 | 235185.3664 | 242240.9274 | 249508.1552 | 256993.3999 | 264703.2018 | 272644.2979 | 280823.6268 | 289248.3356 | 297925.7857 | 306863.5593 | 316069.4661 | 325551.55 | 335318.0966 | 345377.6394 | 355738.9686 | 366411.1377 | 377403.4718 | 388725.576 | 400387.3433 | 412398.9636
Carbon Credit Revenue | USD | 44676 | 44452.62 | 44230.3569 | 44009.2051 | 43789.1591 | 43570.2133 | 43352.3622 | 43135.6004 | 42919.9224 | 42705.3228 | 42491.7962 | 42279.3372 | 42067.9405 | 41857.6008 | 41648.3128 | 41440.0713 | 41232.8709 | 41026.7065 | 40821.573 | 40617.4651 | 40414.3778 | 40212.3059 | 40011.2444 | 39811.1882 | 39612.1322 | 39414.0716 | 39217.0012 | 39020.9162 | 38825.8116 | 38631.6826
TOTAL REVENUE | USD | 917888 | 933317.9788 | 949061.5845 | 965125.8463 | 981517.9693 | 998245.3398 | 1015315.5299 | 1032736.3025 | 1050515.6166 | 1068661.6328 | 1087182.7183 | 1106087.4531 | 1125384.6354 | 1145083.2876 | 1165192.6626 | 1185722.2502 | 1206681.7832 | 1228081.2444 | 1249930.8734 | 1272241.1735 | 1295022.9191 | 1318287.1635 | 1342045.2457 | 1366308.7994 | 1391089.7602 | 1416400.3746 | 1442253.2083 | 1468661.1553 | 1495637.4464 | 1523195.6596
OPERATING EXPENSES
Fixed O&M | USD | 100000 | 102000 | 104040 | 106120.8 | 108243.216 | 110408.0803 | 112616.2419 | 114868.5668 | 117165.9381 | 119509.2569 | 121899.442 | 124337.4308 | 126824.1795 | 129360.663 | 131947.8763 | 134586.8338 | 137278.5705 | 140024.1419 | 142824.6248 | 145681.1173 | 148594.7396 | 151566.6344 | 154597.9671 | 157689.9264 | 160843.7249 | 164060.5994 | 167341.8114 | 170688.6477 | 174102.4206 | 177584.469
Variable, Admin & Heat Ops | USD | 300000 | 306000 | 312120 | 318362.4 | 324729.648 | 331224.241 | 337848.7258 | 344605.7003 | 351497.8143 | 358527.7706 | 365698.326 | 373012.2925 | 380472.5384 | 388081.9891 | 395843.6289 | 403760.5015 | 411835.7115 | 420072.4258 | 428473.8743 | 437043.3518 | 445784.2188 | 454699.9032 | 463793.9012 | 473069.7793 | 482531.1748 | 492181.7983 | 502025.4343 | 512065.943 | 522307.2619 | 532753.4071
TOTAL OPEX | USD | 400000 | 408000 | 416160 | 424483.2 | 432972.864 | 441632.3213 | 450464.9677 | 459474.2671 | 468663.7524 | 478037.0274 | 487597.768 | 497349.7234 | 507296.7178 | 517442.6522 | 527791.5052 | 538347.3353 | 549114.282 | 560096.5677 | 571298.499 | 582724.469 | 594378.9584 | 606266.5376 | 618391.8683 | 630759.7057 | 643374.8998 | 656242.3978 | 669367.2457 | 682754.5907 | 696409.6825 | 710337.8761
EBITDA | USD | 517888 | 525317.9788 | 532901.5845 | 540642.6463 | 548545.1053 | 556613.0186 | 564850.5622 | 573262.0354 | 581851.8642 | 590624.6053 | 599584.9503 | 608737.7298 | 618087.9176 | 627640.6354 | 637401.1574 | 647374.9149 | 657567.5012 | 667984.6768 | 678632.3744 | 689516.7045 | 700643.9608 | 712020.6259 | 723653.3774 | 735549.0937 | 747714.8604 | 760157.9768 | 772885.9626 | 785906.5646 | 799227.764 | 812857.7835
Debt Service | USD | 299456.006 | 299456.006 | 299456.006 | 299456.006 | 299456.006 | 299456.006 | 299456.006 | 299456.006 | 299456.006 | 299456.006 | 299456.006 | 299456.006 | 299456.006 | 299456.006 | 299456.006 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NET INCOME | USD | 218431.994 | 225861.9728 | 233445.5786 | 241186.6403 | 249089.0993 | 257157.0126 | 265394.5562 | 273806.0294 | 282395.8582 | 291168.5994 | 300128.9443 | 309281.7238 | 318631.9116 | 328184.6294 | 337945.1514 | 647374.9149 | 657567.5012 | 667984.6768 | 678632.3744 | 689516.7045 | 700643.9608 | 712020.6259 | 723653.3774 | 735549.0937 | 747714.8604 | 760157.9768 | 772885.9626 | 785906.5646 | 799227.764 | 812857.7835
CASH FLOW ANALYSIS
Equity Invested (Year 0) | USD | -1275000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Annual Cash Flow to Equity | USD | 218431.994 | 225861.9728 | 233445.5786 | 241186.6403 | 249089.0993 | 257157.0126 | 265394.5562 | 273806.0294 | 282395.8582 | 291168.5994 | 300128.9443 | 309281.7238 | 318631.9116 | 328184.6294 | 337945.1514 | 647374.9149 | 657567.5012 | 667984.6768 | 678632.3744 | 689516.7045 | 700643.9608 | 712020.6259 | 723653.3774 | 735549.0937 | 747714.8604 | 760157.9768 | 772885.9626 | 785906.5646 | 799227.764 | 812857.7835
Cumulative Cash Flow | USD | -1056568.006 | -830706.0332 | -597260.4546 | -356073.8143 | -106984.715 | 150172.2976 | 415566.8538 | 689372.8832 | 971768.7414 | 1262937.3408 | 1563066.2851 | 1872348.0089 | 2190979.9205 | 2519164.5499 | 2857109.7013 | 3504484.6162 | 4162052.1174 | 4830036.7942 | 5508669.1685 | 6198185.873 | 6898829.8337 | 7610850.4596 | 8334503.837 | 9070052.9307 | 9817767.7911 | 10577925.768 | 11350811.7306 | 12136718.2952 | 12935946.0591 | 13748803.8426
EBITDA Margin | % | 56.42% | 56.28% | 56.15% | 56.02% | 55.89% | 55.76% | 55.63% | 55.51% | 55.39% | 55.27% | 55.15% | 55.04% | 54.92% | 54.81% | 54.7% | 54.6% | 54.49% | 54.39% | 54.29% | 54.2% | 54.1% | 54.01% | 53.92% | 53.83% | 53.75% | 53.67% | 53.59% | 53.51% | 53.44% | 53.37%
DSCR | x | 1.7294 | 1.7542 | 1.7796 | 1.8054 | 1.8318 | 1.8587 | 1.8863 | 1.9143 | 1.943 | 1.9723 | 2.0022 | 2.0328 | 2.064 | 2.0959 | 2.1285 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Heat % of Revenue | % | 19.07% | 19.31% | 19.56% | 19.81% | 20.07% | 20.32% | 20.58% | 20.84% | 21.1% | 21.37% | 21.63% | 21.9% | 22.17% | 22.44% | 22.72% | 22.99% | 23.27% | 23.55% | 23.84% | 24.12% | 24.41% | 24.7% | 24.99% | 25.28% | 25.57% | 25.87% | 26.17% | 26.47% | 26.77% | 27.07%
[7 empty] | ✓ EQUITY BREAKEVEN | [9 empty] | ✓ LOAN REPAID